RISK CONTROL CHECKLIST

|  | Location: |  |
| --- | --- | --- |
|  | Conducted By: |  | Date: |  |
|  |  | YES | NO | N/A |
| A. | RECORDKEEPING PROCEDURES |  |  |  |
|  | 1. Is the “Safety & Health posters displayed? |  |  |  |
|  | 2. OSHA log & summary of injuries & illnesses maintained at the establishment and posted no later than February 1st? |  |  |  |
|  | 3. Are all inspections documented? |  |  |  |
| B | WALKING-WORKING SURFACES 1910.22 |  |  |  |
|  | 1. Are aisles and working areas clean and free of hazards? |  |  |  |
|  | 2. Are floors clean, dry, sanitary and free of slip hazards? |  |  |  |
|  | 3. Are stairs equipped with standard railings? |  |  |  |
|  | 4. Are ladders sturdy, free of defects and up to required standards? |  |  |  |
|  | 5. Are ladders suitable for the job, equipped with safety feet and used properly and inspected maintained and protected during storage? |  |  |  |
|  | 6. Are metal ladders kept away from electrical exposures and marked to say so? |  |  |  |
| C. | MEANS OF EGRESS/ACCIDENT PREVENTION 1910.36 & NFPA 101 |  |  |  |
|  | 1. Are all employees informed about their roles in reporting and handling potentially hazardous premises conditions like product spills, wet floor, parking lot hazards, improper stacking of shelf stock, etc.? |  |  |  |
|  | 2. Are regular inspections used to identify and correct unsafe conditions before accident occur? |  |  |  |
|  | 3. Are there enough exits for an emergency? |  |  |  |
|  | 4. Are exit routes marked, not obstructed and doors unlocked? Are the entrance/exit ways maintained to prevent slip and falls due to wet conditions? |  |  |  |
|  | 5. Are parking areas provided with adequate lane space, traffic signs and individual parking space to prevent damage to customer vehicles? |  |  |  |
|  | 6. Are there visible “Exit” signs with 6-inch letters at all exits? |  |  |  |
|  | 7. Do exits swing outward? |  |  |  |
|  | 8. Are doors that could be mistaken as exits clearly marked? |  |  |  |
| D. | MEDICAL & FIRST AID 1910.151 |  |  |  |
|  | 1. Medical personnel available for consultation & treatment facilities nearby? |  |  |  |
|  | 2. Eyewash, first aid supplies or any other emergency treatment equipment present and in good working condition? |  |  |  |
|  | 3. Any CPR/first aid trained employees? |  |  |  |
| E. | FIRE AND LIFE SAFETY 1910.157 | YES | NO | N/A |
|  | 1. Are there written emergency evacuation plans and are all shifts informed about them? |  |  |  |
|  | 2. Is there adequate number of emergency exits and are they kept clear and marked with lighted signs? |  |  |  |
|  | 3. Is someone charged with the responsibility on contacting Fire and Police Departments at all times during operating hours? |  |  |  |
|  | 4. Are portable fire extinguishers present and accessible and the right type? |  |  |  |
|  | 5. Are special containers used for flammable liquid storage? |  |  |  |
|  | 6. Are extinguishers maintained according to local codes, checked and recharged regularly? |  |  |  |
|  | 7. Is smoking permitted in the building? If so is the area controlled |  |  |  |
|  | 8. Rags stored in appropriate containers? |  |  |  |
| F. | MACHINERY & MACHINE GUARDING 1910.212 | YES | NO | N/A |
|  | 1. Are drive belts, chain drives, etc. completely enclosed? |  |  |  |
|  | 2. Are machine guards kept in place and regularly inspected? |  |  |  |
|  | 3. Are inspections and maintenance records kept on file? |  |  |  |
|  | 4. Are shaft ends, nip points, moving parts, etc. guarded? |  |  |  |
|  | 5. Do fixed power tools have disconnect switches that can be locked and tagged off? |  |  |  |
|  | 6. V-belt on drill presses guarded? |  |  |  |
|  | 7. Fixed machines securely anchored? |  |  |  |
| G. | MATERIAL HANDLING & STORAGE 1910.179, 1910.30, 1910.178, 1910.22, ANSI. A11.11910.176 |  |  |  |
|  | 1. Are passageways marked, unobstructed and adequately lighted? |  |  |  |
|  | 2. Are materials properly stacked with regard to fire characteristics and safe floor loads? |  |  |  |
|  | 3. Are lift trucks, cranes and hoist inspected for proper loads, hoisting equipment/mechanisms, scheduled maintenance and driver/operator training? Employees trained? |  |  |  |
|  | 4. Are chocks and brakes used when loading/unloading trucks? |  |  |  |
|  | 5. Are inspections dated and records kept of all maintenance i.e. fork trucks, rigging, critical parts, etc.? |  |  |  |
|  | 6. Drums bonded or grounded? |  |  |  |
|  | 7. Forklift and other equipment operators trained? |  |  |  |
| H. | EQUIPMENT/PREMISES MAINTENANCE |  |  |  |
|  | 1. Is easy access maintained to all exits and emergency equipment such as fire extinguishers, electrical control panels, sprinkler control valves, alarms, communication equipment, etc.? |  |  |  |
|  | 2. Is there a separate storage area for paper and trash awaiting outside disposal or incineration? |  |  |  |
|  | 3. Are holes and cracks in parking lot and outside walkways repaired promptly? |  |  |  |
|  | 4. Are interior furnishings regularly inspected and repaired if necessary? |  |  |  |
|  | 5. Are cleaning supplies stored in an area not accessible by clients? |  |  |  |
|  | 6. Housekeeping adequate, both inside and out? |  |  |  |
| I | ELECTRICAL 1910.219 & 1910.242(a) |  |  |  |
|  | a. Is electrical equipment grounded? |  |  |  |
|  | b. Are electrical control panels posted and marked to assure at least 3 feet of clearance? |  |  |  |
|  | c. Extension cords in good condition? |  |  |  |
|  | d. Handtools inspected & double insulated? |  |  |  |
|  | e. Are properly rated circuit breakers or fuses used |  |  |  |
| J. | WELDING & CUTTING 1910.252 (b)(1) ANSIZ49.1-1967 |  |  |  |
|  | 1. O2 and acetylene cylinders in storage separated by 20 feet or by a 5-foot high, one half-hour non-combustible barrier? |  |  |  |
|  | 2. Are cylinders secured in the upright position? |  |  |  |
|  | 3. Are valve caps used when cylinders are not in use? |  |  |  |
|  | 4. Are fire curtains used around welding operations? |  |  |  |
|  | 5. Are suitable fire extinguishers handy? |  |  |  |
| K. | GENERAL ENVIRONMENTAL CONTROL 1910.141 | YES | NO | N/A |
|  | 1. Are work areas, storerooms, lunchrooms, washrooms, etc., clean orderly and in sanitary condition? Drinking water present? |  |  |  |
|  | 2. Are there signs for special warnings, i.e. danger, caution, etc.? |  |  |  |
| L. | ABRASIVE GRINDING 1910.244 (b), ANSIZ9.4-1968 |  |  |  |
|  | 1. Safety guards present, 1/8-inch clearance, securely anchored, face shield present & clean? Power or drive belt guarded? |  |  |  |
|  | 2. Rules addressed with the workers? |  |  |  |
|  | 3. Hand and grinding tools in good condition and double insulated? |  |  |  |
|  | 4. Daily inspection & eye protection signs posted? |  |  |  |
| M. | CRANES & HOIST (1910.179 {j} {2} ANSIB30.2.1-1967 |  |  |  |
|  | 1. Inspected daily (visual)? |  |  |  |
|  | a. Boom angle indicator functioning? |  |  |  |
|  | b. Outriggers used and functional? |  |  |  |
|  | c. Hoist chains and ropes free of kinks or twists and not wrapped around the load? |  |  |  |
|  | d. Load capacity posted and visible to the operator, signaler & rigger, stating the safe loads at various radii from the center-pin of the turntable? |  |  |  |
|  | e. Good visibility? |  |  |  |
|  | f. Overhead wires identified and considered as energized wires and signaler present to monitor situation? |  |  |  |
| N. | PERSONAL PROTECTIVE EQUIPMENT 1910.132 |  |  |  |
|  | 1. Proper eye, foot and head protection worn by all employees when needed? |  |  |  |
|  | 2. Are gloves face shields, safety shoes, respirators and other protective clothing available and used when needed? |  |  |  |
|  | 3. No “Smoking” signs posted? |  |  |  |
| O. | OFFICE SAFETY | YES | NO | N/A |
|  | 1. Housekeeping adequate, aisles free and clear? |  |  |  |
|  | 2. Emergency plan posted w/escape routes |  |  |  |
|  | a. Fire drills? |  |  |  |
|  | b. Assigned duties and emergency numbers? |  |  |  |
|  | c. Part of new hire orientation? |  |  |  |
|  | d. Exits marked and lighted? |  |  |  |
|  | 3. Are stairs kept free and clean of stored equipment and materials, lighting adequate? |  |  |  |
|  | 4. Any elevators/escalators? If so, have they been serviced? |  |  |  |
|  | 5. Are there any inherent slippery areas (highly polished)? |  |  |  |
|  | 6. Non-automatic doors out-swinging only; properly regulated closure or checks; rain mats used, etc.? |  |  |  |
|  | 7. Rugs well maintained? |  |  |  |
|  | 8. No difference in the elevation between floors? |  |  |  |
|  | 9. Exits free of obstruction, path marked and properly maintained? |  |  |  |
|  | 10. Proper extension cords w/surge protectors on the computers? |  |  |  |
|  | 11. Limited heavy lifting, bending, twisting, reaching, etc. |  |  |  |
|  | 12. Ergonomics addressed? |  |  |  |
|  | 13. Chairs and furnishings in good condition and appropriate? |  |  |  |
| P. | INDUSTRIAL HYGIENE | YES | NO | N/A |
|  | 1. Noise exposure monitored? If so, what were results? |  |  |  |
|  | 2. Dust/airborne particles? |  |  |  |
|  | 3. Confined spaces? Entry permits? |  |  |  |
|  | 4. Carpal Tunnel problems? |  |  |  |
|  | 5. Reactives (powdered metals) |  |  |  |
|  | 6. Are flammables/combustibles kept to daily supply & labeled? |  |  |  |
|  | 7. Asbestos exposure? |  |  |  |
| Q. | SPRAY FINISHING OPERATIONS (1910.94 a-h) ANSIZ9-3) |  |  |  |
|  | 1. All spray operations done in appropriate area? |  |  |  |
|  | 2. Proper construction with approved electrical systems, mechanical ventilation and proper chemical storage at a safe distance and a one-day supply? |  |  |  |
|  | 3. Employees properly trained? |  |  |  |
|  | 4. Large enough to reduce explosive mixtures? |  |  |  |
|  | 5. Cleaning schedule & records? |  |  |  |
|  | 6. Electric equipment meets NEC requirements? |  |  |  |
|  | 2. Filters cleaned and changed when needed? |  |  |  |
|  | 3. No “Smoking” signs posted & fire fighting equipment present |  |  |  |