Safety Checklists

| Slip, Trip & Fall Prevention Checklist Supervisor ______________________ Area ___________________ Date: |
| --- |
| Yes | No |  |
| Area Safety Check |
|  |  | workers wear low heel non-skid footwear |
|  |  | daily slip, trip & fall hazard inspections |
|  |  | easy access to cleanup material and waste containers |
|  |  | fluid drains are diverted from walkways |
|  |  | mats are placed at building and wet process area entrances |
|  |  | good lighting for all interior & exterior work areas & walkways |
|  |  | colored strapping material is used in shipping / packing areas |
|  |  | no storage on stairs or near ladders |
|  |  | spills are cleaned up immediately |
|  |  | scrap is controlled to prevent accumulation |
|  |  | walkways are at least 22 inches wide |
|  |  | damaged floors are repaired |
|  |  | anti-slip floor coatings used in production areas |
|  |  | hand & knee rails are fastened securely |
|  |  | no storage on stairs |
|  |  | all drop-offs have safety rails |
|  |  | floor openings are guarded by safety rails |
|  |  | top access to permanent ladders are chained or barred |
|  |  | top access to permanent ladders is clear of material & debris |
|  |  | low platforms have adequate room for movement |
| Employee Training - workers are trained |
|  |  | not to climb shelving |
|  |  | to pre-inspect & use fall protection when working from unguarded heights |
|  |  | in the proper use and type of ladders |
|  |  | to immediately clean up spills |
|  |  | to keep walkways and exits clear |
|  |  | to keep cords and trip hazards off floors |
| Supervisors' Safety Checklist – Office Safety Supervisor: Date: Department/Area |
| Yes | No |  |
| Area Safety Check |
|  |  | adequate fire extinguishes are provided |
|  |  | emergency exit routes are posted |
|  |  | emergency lighting provided for all rooms, hallways and exits |
|  |  | exits have lighted signs |
|  |  | electrical receptacles are not overloaded |
|  |  | no frayed power cords |
|  |  | power cords are not run across floors or under rugs |
|  |  | all electrical equipment is turned off at end of day |
|  |  | no open flames (candles, etc) are allowed |
|  |  | no exposed electrical hazards |
|  |  | no storage allowed in electrical or utility closets |
|  |  | step ladders available to access high shelves |
|  |  | no trip hazards |
|  |  | all shelves are secured to wall framing |
|  |  | housekeeping plan established & used |
|  |  | trash is removed at least daily |
|  |  | all damaged equipment & furniture is immediately removed |
|  |  | hot water heaters are inspected & drained annually |
|  |  | hot water relief valves replace annually |
|  |  | hot water heater thermostats are checks annually |
|  |  | emergency phone numbers posted by each phone |
| Employee Training - workers are trained |
|  |  | in emergency procedures |
|  |  | to open only one file drawer at a time |
|  |  | not to overload shelves |
|  |  | in proper lifting techniques |
|  |  | to not attempt equipment repairs unless authorized |
|  |  | to prevent fire hazards |
|  |  | to keep trip hazards off floor |
|  |  | to cleanup spills immediately |
|  |  | in proper inspection & use of step ladders |
|  |  | to maintain commons areas neat & clean |
| Supervisors' Safety Checklist – Fire Prevention Supervisor: Date: Department/Area |
| Yes | No | Checklist Area |
| Area Safety Check |
|  |  | all flammable liquids are stored in approved, vented storage lockers |
|  |  | oily rags are disposed of in approved containers |
|  |  | electrical motors are checked daily for overheating |
|  |  | trash is not allowed to accumulate in work areas |
|  |  | flammable material is not stored under stairs |
|  |  | no storage allowed in electrical utility rooms |
|  |  | waste dumpsters are not located next to buildings |
|  |  | smoking is allowed only in designated areas - waste containers provided |
|  |  | flammable storage areas are posted with No Smoking signs |
|  |  | combustible gases are properly stored |
|  |  | bonding & grounding of flammable liquid containers is enforced |
|  |  | incompatible chemicals are stored in separate areas |
|  |  | Hot Work permits are used for all welding and spark producing operations |
|  |  | access to utility & equipment rooms is restricted to authorized employees |
|  |  | combustible & flammable material is not stored near gas fired equipment |
| Employee Training - workers are trained to |
|  |  | recognize and report fire hazards |
|  |  | to activate fire alarms |
|  |  | understand proper storage of flammable liquids |
|  |  | (supervisors) properly use fire extinguishers |

| Supervisors' Safety Checklist – Flammable Liquids Supervisor: Date: Department/Area |
| --- |
| YES | No | Checklist Area |
| Flammable Store Room |
|  |  | 3 foot wide aisles clear |
|  |  | Forced ventilation working properly |
|  |  | Explosion-proof switches intact, guards on all fixtures. |
|  |  | Fusible links intact on self-closing doors. |
|  |  | Self-closing doors operational, sills intact. |
|  |  | Number of containers does not exceed rated capacity |
|  |  | Container grounding installed |
|  |  | Safety vent in each open drum. |
|  |  | Approved faucet or pump on each drum being drained. |
|  |  | Approved drip can under each drum faucet - empty those with liquid |
|  |  | Approved filler/vent on each drum being filled. |
|  |  | Sprinkler system inspected |
|  |  | Floor clean of drips, spills, trash. |
|  |  | Required signs in place and legible. |
| In-Plant Use of Flammable Liquids |
|  |  | Type I Safety Cans for receiving flammable liquids from drums |
|  |  | Hose or Funnel Attachments for Type I Safety Cans. |
|  |  | Nonmetallic Safety Cans for harsh or corrosive conditions. |
|  |  | Stainless steel cans for reagent grade solvents or high purity liquids. |
|  |  | Cabinets are vented and have self-closing doors |
|  |  | Proper dispenser or plunger cans |
|  |  | Bench Cans with flame arrester screens |
| Tool Cleaning & Rinse Tanks |
|  |  | Rinse Tanks with self-closing covers. |
|  |  | Cleaning Tanks with fusible-link cover-closing device |
| Waste Disposal |
|  |  | Oily Waste Cans with self-closing cover available |
|  |  | Liquid waste cans with self-closing safety cap |
|  |  | Drain Cans with flame arrester for collecting used solvents |
|  |  | Fill vents and funnels on waste drums |
|  |  | Spill containment pallets beneath all drums stored indoors |
|  |  | Hazmat accumulation centers established |
| Employee Training - workers have been trained |
|  |  | in Flammable store room safety procedures |
|  |  | to use bonding & grounding systems |
|  |  | to use proper portable containers |
|  |  | to properly dispense flammable liquids |
|  |  | to immediate clean up spills |
|  |  | in hazards of flammable liquids |
|  |  | in sources of ignition |
|  |  | to properly dispose of waste and un-used flammable liquids |

| Supervisors' Safety Checklist – Emergencies Supervisor: Date: Department/Area |
| --- |
| Yes | No | Checklist Area |
| Area Safety Check |
|  |  | Emergency Exits are unlocked, well marked & not blocked |
|  |  | Fire alarm pull boxes are not blocked |
|  |  | Fire extinguishers are not blocked |
|  |  | Emergency exit routes are posted |
|  |  | Eyewash & emergency showers function & are not blocked |
|  |  | Emergency phone numbers are posted by each phone |
|  |  | Emergency equipment is not blocked |
|  |  | First Aid kits are stocked & easily accessed |
| Employee Training - workers have been trained |
|  |  | supervisors - First Aid & CPR |
|  |  | supervisors - emergency procedures |
|  |  | supervisors - fire safety & extinguisher use |
|  |  | supervisors - emergency notification procedures |
|  |  | workers - evacuation procedures |
|  |  | workers - sheltering procedures |
|  |  | workers - alarm signals |

Fire Drill Evaluation Report
Circle Yes or No only for those evaluation areas you observed

| Point of Origin |  | Drill Date |  |
| --- | --- | --- | --- |
| Department |  | Shift |  |
| Evaluator Name |  | Time Start |  |
| Initiation Method |  | Time Completed |  |

| Areas of Evaluation |
| --- |
| All inside doors were closed after alarm | Yes | No | NA |
| Gas Valves & other flammable service valves shut | Yes | No | NA |
| Employees familiar with Alarm box locations and use | Yes | No | NA |
| Employees know emergency phone numbers | Yes | No | NA |
| Paging system was operated correctly | Yes | No | NA |
| Announcing system was operated correctly | Yes | No | NA |
| Fire alarm audible and visual indicators functioned properly | Yes | No | NA |
| Evacuation was orderly and controlled by supervisors | Yes | No | NA |
| Equipment was shutdown during evacuation | Yes | No | NA |
| Employees used correct evacuation routes | Yes | No | NA |
| Employees gathered at correct relocation areas (Elapsed Time _______) | Yes | No | NA |
| No obstacles in evacuation paths | Yes | No | NA |
| Emergency exit routes clearly marked | Yes | No | NA |
| Emergency Exit doors not blocked - worked properly | Yes | No | NA |
| Supervisors followed emergency response plan | Yes | No | NA |
| Management followed emergency response plan | Yes | No | NA |
| Critical document control and removal plan executed | Yes | No | NA |
| Fire Department called (by pre-arrangement) Response time ______ | Yes | No | NA |
| Police response time ____________ | Yes | No | NA |
| Utilities shut off in affected areas (Elapsed time __________ | Yes | No | NA |
| Fire Brigade on-scene time (Elapsed time _________) | Yes | No | NA |
| Fire properly brought under control (Elapsed time _______) | Yes | No | NA |
| Fire was extinguished (Elapsed time _____________) | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |

Comments & Notes

GL Safety Audit / Inspection Checklist

Account________________________________	Date________________

Location (occupancy)____________________________________________

______________________________________________________________

Parking Lot	OK	Defective	Comments

Clean, orderly, and free of liquids/grease	_____	   _____	_________

Free of potholes/depressions	_____	   _____	_________

Parking areas striped	_____	   _____	_________

Curbs/no parking areas marked	_____	   _____	_________

Openings/drains covered	_____	   _____	_________

No other slip/trip/hazards	_____	   _____	_________

Doors	OK	Defective	Comments

Glass doors have visible marking to prevent collisions with	_____	   _____	_________

Solid doors have glass panels to help prevent collisions	_____	   _____	_________

Door opening/closing devices in good condition	_____	   _____	_________

Walking Surfaces (Inside)	OK	Defective	Comments

Clean, orderly, and free of liquids/grease	_____	   _____	_________

Free of depressions	_____	   _____	_________

Openings/drains covered	_____	   _____	_________

Caution - Wet Floor signs available/used	_____	   _____	_________

Are carpets secured/good condition	_____	   _____	_________

Are rugs/mats flat without upturned edges	_____	   _____	_________

Sweep/inspection interval	_____	   _____	_________

Other slip/trip/fall hazards controlled	_____	   _____	_________

Aisles	OK	Defective	Comments

Clearly marked

Unobstructed with materials on floor/extending from shelves	_____	   _____	_________

Sufficiently wide (4 feet) for material handling/customer traffic	_____	   _____	_________

Shelves/counters in good condition with no sharp edges	_____	   _____	_________

Pegboard hooks rounded/protected ends	_____	   _____	_________

Shelves anchored	_____	   _____	_________

Furniture	OK	Defective	Comments

Furniture in good condition	_____	   _____	_________

Furniture used as designed	_____	   _____	_________

Stairs	OK	Defective	Comments

No worn or damage treads/surfaces	_____	   _____	_________

Railings secure	_____	   _____	_________

No material storage on stairs	_____	   _____	_________

Proper lighting	_____	   _____	_________

Ladders	OK	Defective	Comments

Safety feet in good repair	_____	   _____	_________

Clean (unpainted) steps/rungs	_____	   _____	_________

No loose steps/rungs/hinges	_____	   _____	_________

No cracked uprights/steps/rungs	_____	   _____	_________

Labeled class/type and weight rating 	_____	   _____	_________

Elevated Areas	OK	Defective	Comments

Properly guarded	_____	   _____	_________

Weight limits posted	_____	   _____	_________

Toe boards in place	_____	   _____	_________

Adequate headroom above/below	_____	   _____	_________

Lighting	OK	Defective	Comments

Illumination level sufficient for work performed	_____	   _____	_________

Emergency lighting adequate and operating	_____	   _____	_________

Emergency Exits/Preparedness	OK	Defective	Comments

Adequate number of emergency exits	_____	   _____	_________

No locked exits	_____	   _____	_________

No blocked egress paths (inside/outside)	_____	   _____	_________

Emergency exit signs adequate and operating	_____	   _____	_________

Emergency exit doors open to outside flat surface	_____	   _____	_________

Emergency telephone numbers posted	_____	   _____	_________

Non-Exits properly marked as such	_____	   _____	_________

Fire Protection	OK	Defective	Comments

Adequate number/type of fire extinguishers	_____	   _____	_________

Fire extinguishers properly labeled/mounted	_____	   _____	_________

Fire extinguishers inspected monthly	_____	   _____	_________

Fire extinguishers certified/recharged annually	_____	   _____	_________

Employees trained periodically on use of fire extinguishers	_____	   _____	_________

Flammable/combustible items stored in approved containers	_____	   _____	_________

Flammable/combustible items properly labeled	_____	   _____	_________

Ash trays provided and filled with sand	_____	   _____	_________

Cooking Equipment	OK	Defective	Comments

Cleaned Regularly	_____	   _____	_________

Located under ventilation hoods	_____	   _____	_________

Hoods have adequate exhaust	_____	   _____	_________

Hoods/filters are cleaned regularly	_____	   _____	_________

Hoods professionally cleaned every 6 months	_____	   _____	_________

Hoods equipped with automatic extinguishing system	_____	   _____	_________

Adequate number/type of fire extinguishers (40BC)	_____	   _____	_________

Employee Work Practices	OK	Defective	Comments

Hair covered when working around open food	_____	   _____	_________

Sanitize hands prior to handling food	_____	   _____	_________

Proper clothing/jewelry	_____	   _____	_________

Protective equipment available/used	_____	   _____	_________

Cooler	OK	Defective	Comments

Temperatures checked often	_____	   _____	_________

Emergency release on doors	_____	   _____	_________

Electrical	OK	Defective	Comments

All machines properly grounded	_____	   _____	_________

Pigtails used on ungrounded outlets	_____	   _____	_________

All extension cords 3 wire grounded	_____	   _____	_________

Cord insulation undamaged	_____	   _____	_________

Overloaded outlets/circuits	_____	   _____	_________

Control panels clearly identified	_____	   _____	_________

All circuit breakers labeled	_____	   _____	_________

All outlets/junction boxes properly covered	_____	   _____	_________

All ground fault interrupters in working condition	_____	   _____	_________

All wires in conduit	_____	   _____	_________

First Aid & Medical Services	OK	Defective	Comments

First aid kit well stocked	_____	   _____	_________

Clear instructions for contacting outside medical sources	_____	   _____	_________

Provisions for transportation to medical sources	_____	   _____	_________

OSHA 200 log up to date	_____	   _____	_________

Injury report forms available	_____	   _____	_________

Waste Disposal	OK	Defective	Comments

Waste containers in good repair	_____	   _____	_________

Waste containers properly labeled	_____	   _____	_________

Separate containers provided for different types of waste	_____	   _____	_________

Security	OK	Defective	Comments

Cameras/recording equipment working	_____	   _____	_________

Alarms tested regularly	_____	   _____	_________

Doors marked with height indicators	_____	   _____	_________

All customers greeted on entering	_____	   _____	_________

Windows with limited number of signs	_____	   _____	_________

All display shelves less than 5 feet	_____	   _____	_________

Cash registers visible from street	_____	   _____	_________

Aisle corner mirrors adjusted	_____	   _____	_________

Free coffee to officers on-duty	_____	   _____	_________

Employees leave in pairs or more	_____	   _____	_________

Robbery Prevention signs posted	_____	   _____	_________

Moneys controlled/Non routine bank deposits	_____	   _____	_________

Keys controlled	_____	   _____	_________

Restroom Facilities	OK	Defective	Comments

Condition of floors	_____	   _____	_________

Waste containers properly labeled	_____	   _____	_________

Cleanliness of area	_____	   _____	_________

Adjacent Properties	Type	Distance

South

North

East

West

Are areas of responsibility defined between the tenant and owner	Y	N

Explain_______________________________________________________________________________________

_____________________________________________________________________________________________

What are minimum insurance requirements, explain_________________________________________________

_____________________________________________________________________________________________

Are tenant premises inspected & how often	Y	N

Explain_______________________________________________________________________________________

Any outside displays allowed	Y	N

Explain_______________________________________________________________________________________

Subs for grounds and property maintenance	Y	N

For What?_____________________________________________________________________________________

Certs	Y	N

Limits____________________________________________

Who updates_______________________________________

How often_________________________________________

Any special events sponsored	Y	N

If so, what?_____________________________________________________________________________

How often_____________________________________________________________________________________

Any onsite security	Y	N

If yes are they armed	Y	N

Are there procedures for others having security onsite	Y	N

Slip/fall program i.e. signs, warnings, etc.

(snow, ice, etc)__________________________________________________________________________________

Emergency procedures 	Y	N

Explain_______________________________________________________________________________________

_____________________________________________________________________________________________

Frequency of police patrols________________________________________________________________________

Any facilities with roof-top parking	Y	N

If yes, explain__________________________________________________________________________________

How often roof inspected for collapse potential________________________________________________________

Any construction completed in-house	Y	N

Any properties with daycare facilities	Y	N

Any properties with escalators, elevators, etc.	Y	N

If yes, inspected and serviced by whom______________________________________________________________

Under what right do tenants have the right to cancel a lease______________________________________________

_____________________________________________________________________________________________

Who owns vending machines located on the premises___________________________________________________

Any food or beverage services offered by risk	Y	N

If yes, explain

Any special contracts with any tenants	Y	N

ADA requirements addressed	Y	N

Towing	Y	N

Tenant turnover_________________________________________________________________________